| 附件二 |  |  |
| --- | --- | --- |
| 得不適用藥物製造工廠設廠標準第四編醫療器材優良製造規範之品項 |
| 下列品項如應滅菌者，仍應符合藥物製造工廠設廠標準第四編醫療器材優良製造規範 |
| 一、臨床化學及臨床毒理學（除量測儀器外） |  |
|  | (CLINICAL CHEMISTRY AND CLINICAL TOXICOLOGY DEVICES) |  |
| 代碼 | 中文名稱 | 英文名稱 | 等級 |
| A.1030 | 胺基丙酸轉移酶試驗系統 | Alanine amino transferase (ALT/SGPT) test system | 1 |
| A.1040 | 丁醛醇酵素試驗系統 | Aldolase test system | 1 |
| A.1060 | δ-胺基乙醯丙酸試驗系統 | Delta-aminolevulinic acid test system | 1 |
| A.1065 | 血氨試驗系統 | Ammonia test system | 1 |
| A.1075 | 雄烯二酮試驗系統 | Androstenedione test system | 1 |
| A.1080 | 雄固酮試驗系統 | Androsterone test system | 1 |
| A.1095 | 抗壞血酸試驗系統 | Ascorbic acid test system | 1 |
| A.1113 | 新生兒膽紅素（總量及未結合的）試驗系統 | Bilirubin (total and unbound) in the neonate test system | 1 |
| A.1115 | 尿中膽紅素及其結合物（非定量）試驗系統 | Urinary bilirubin and its conjugates (nonquantitative) test system | 1 |
| A.1130 | 血量試驗系統 | Blood volume test system | 1 |
| A.1135 | 胰島素前質C-肽類試驗系統 | C-peptides of proinsulin test system | 1 |
| A.1165 | 兒茶酚胺（總量）試驗系統 | Catecholamines (total) teset system | 1 |
| A.1175 | 膽固醇（總量）試驗系統 | Cholesterol (total) test system | 1 |
| A.1180 | 胰凝乳蛋白試驗系統 | Chymotrypsin test system | 1 |
| A.1185 | S-化合物（11-去氧氫氧基皮質酮）試驗系統 | Compound S (11-deoxycortisol) test system | 1 |
| A.1190 | 銅試驗系統 | Copper test system | 1 |
| A.1195 | 腎上腺類皮質素試驗系統 | Corticoids test system | 1 |
| A.1200 | 皮質類固酮試驗系統 | Corticosterone test system | 1 |
| A.1210 | 肌酸試驗系統 | Creatine test system | 1 |
| A.1240 | 胱氨酸試驗系統 | Cystine test system | 1 |
| A.1245 | 去氫表雄固酮（游離和硫鹽）試驗系統 | Dehydroepiandrosterone (free and sulfate) test system | 1 |
| A.1250 | 去氧皮質酮試驗系統 | Deoxycorticosterone test system | 1 |
| A.1255 | 2,3-二磷甘油酸試驗系統 | 2,3-Diphosphoglyceric acid test system | 1 |
| A.1260 | 雌二醇試驗系統 | Estradiol test system | 1 |
| A.1265 | 雌三醇試驗系統 | Estriol test system | 1 |
| A.1270 | 雌激素（總量、懷孕中）試驗系統 | Estrogens (total, in pregnancy) test system | 1 |
| A.1275 | 雌激素（總量，未懷孕）試驗系統 | Estrogens (total, nonpregnancy) test system | 1 |
| A.1280 | 雌素酮試驗系統 | Estrone test system | 1 |
| A.1285 | 睪丸素酮還原型試驗系統 | Etiocholanolone test system | 1 |
| A.1290 | 脂肪酸試驗系統 | Fatty acids test system | 1 |
| A.1300 | 卵泡剌激激素試驗系統 | Follicle-stimulating hormone test system | 1 |
| A.1305 | Formiminoglutamic acid,（FIGLU）試驗系統 | Formiminoglutamic acid (FIGLU) test system | 1 |
| A.1310 | 半乳糖試驗系統 | Galactose test system | 1 |
| A.1320 | 胃酸試驗系統 | Gastric acidity test system | 1 |
| A.1325 | 胃泌素試驗系統 | Gastrin test system | 1 |
| A.1330 | 球蛋白試驗系統 | Globulin test system | 1 |
| A.1335 | 升糖素試驗系統 | Glucagon test system | 1 |
| A.1360 | r-麩胺醯轉移酶（GGT）和同功異構酶試驗系統 | Gamma-glutamyl transpeptidase and isoenzymes test system | 1 |
| A.1365 | 麩甘胱試驗系統 | Glutathione test system | 1 |
| A.1370 | 人體生長激素試驗系統 | Human growth hormone test system | 1 |
| A.1375 | 組織氨基酸試驗系統 | Histidine test system | 1 |
| A.1380 | 羥丁酸去氫酵素試驗系統 | Hydroxybutyric dehydrogenase test system | 1 |
| A.1385 | 17-皮質類脂醇（17-生酮的類脂醇）試驗系統 | 17-Hydroxycorticosteroids (17-ketogenic steroids) test system | 1 |
| A.1390 | 5-羥引朵醋酸／血清素試驗系統 | 5-Hydroxyindole acetic acid/serotonin test system | 1 |
| A.1395 | 17-黃體酯酮試驗系統 | 17-Hydroxyprogesterone test system | 1 |
| A.1400 | 羥基脯氨酸試驗系統 | Hydroxyproline test system | 1 |
| A.1405 | 免疫反應胰島素試驗系統 | Immunoreactive insulin test system | 1 |
| A.1410 | 鐵（非血基質）試驗系統 | Iron (non-heme) test system | 1 |
| A.1415 | 鐵結合能力試驗系統 | Iron-binding capacity test system | 1 |
| A.1420 | 同檸檬酸去氫酵素試驗系統 | Isocitric dehydrogenase test system | 1 |
| A.1430 | 17-酮固醇試驗系統 | 17-Ketosteroids test system | 1 |
| A.1435 | 酮（非定量）試驗系統 | Ketones (nonquantitative) test system | 1 |
| A.1440 | 乳酸脫氫酶試驗系統 | Lactate dehydrogenase test system | 1 |
| A.1450 | 乳酸試驗系統 | Lactic acid test system | 1 |
| A.1460 | 白胺酸胺肱酶試驗系統 | Leucine aminopeptidase test system | 1 |
| A.1465 | 脂肪分解酵素試驗系統 | Lipase test system | 1 |
| A.1470 | 脂肪（總量）試驗系統 | Lipid (total) test system | 1 |
| A.1475 | 脂蛋白試驗系統 | Lipoprotein test system | 1 |
| A.1485 | 黃體促素試驗系統 | Luteinizing hormone test system | 1 |
| A.1490 | 溶菌酵素試驗系統 | Lysozyme (muramidase) test system | 1 |
| A.1495 | 鎂試驗系統 | Magnesium test system | 1 |
| A.1500 | 蘋果酸去氫酵素試驗系統 | Malic dehydrogenase test system | 1 |
| A.1505 | 黏多醣（非定量）試驗系統 | Mucopolysaccharides (nonquantitative) test system | 1 |
| A.1510 | 亞硝酸鹽（非定量）試驗系統 | Nitrite nonquantitative test system | 1 |
| A.1515 | 氮（胺基－氮）試驗系統 | Nitrogen amino-nitrogen test system | 1 |
| A.1520 | 5'-核甘酸酵素試驗系統 | 5'-Nucleotidase test system | 1 |
| A.1530 | 血漿器官體積計測法試驗系統 | Plasma oncometry test system | 1 |
| A.1535 | 鳥氨基酸碳醯氨轉移酶試驗系統 | Ornithine carbamyl transferase test system | 1 |
| A.1540 | 滲透壓試驗系統 | Osmolality test system | 1 |
| A.1542 | 草酸鹽試驗系統 | Oxalate test system | 1 |
| A.1550 | 尿酸鹼值（非定量）試驗系統 | Urinary pH (nonquantitative) test system | 1 |
| A.1560 | 尿苯酮（非定量）試驗系統 | Urinary phenylketones (nonquantitative) test system | 1 |
| A.1565 | 6-磷糖去氫酵素試驗系統 | 6-Phosphogluconate dehydrogenase test system | 1 |
| A.1570 | 磷酸己醣同質酵素試驗系統 | Phosphohexose isomerase test system | 1 |
| A.1575 | 磷脂類試驗系統 | Phospholipid test system | 1 |
| A.1580 | 亞磷酸（無機）試驗系統 | Phosphorus (inorganic) test system | 1 |
| A.1590 | 噙咯色原質試驗系統 | Porphobilinogen test system | 1 |
| A.1595 | 噙咯紫質試驗系統 | Porphyrins test system | 1 |
| A.1605 | 黃體脂醇試驗系統 | Pregnanediol test system | 1 |
| A.1610 | Pregnanetriol（化學名）試驗系統 | Pregnanetriol test system | 1 |
| A.1615 | 孕烯醇酮試驗系統 | Pregnenolone test system | 1 |
| A.1620 | 黃體脂酮試驗系統 | Progesterone test system | 1 |
| A.1625 | 催乳素試驗系統 | Prolactin (lactogen) test system | 1 |
| A.1630 | 蛋白質（化學分離法）試驗系統 | Protein (fractionation) test system | 1 |
| A.1635 | 總蛋白質試驗系統 | Total protein test system | 1 |
| A.1640 | 蛋白質結合碘試驗系統 | Protein-bound iodine test system | 1 |
| A.1645 | 尿蛋白質或白蛋白（非定量）試驗系統 | Urinary protein or albumin (nonquantitative) test system | 1 |
| A.1650 | 丙酮酸激酶試驗系統 | Pyruvate kinase test system | 1 |
| A.1655 | 丙酮酸試驗系統 | Pyruvic acid test system | 1 |
| A.1660 | 品管材料（分析與非分析） | Quality control material (assayed and unassayed) | 1 |
| A.1670 | 山梨糖去氫酵素試驗系統 | Sorbitol dehydrogenase test system | 1 |
| A.1680 | 睪丸脂酮試驗系統 | Testosterone test system | 1 |
| A.1705 | 三酸甘油脂試驗系統 | Triglyceride test system | 1 |
| A.1710 | 總三碘甲狀腺素試驗系統 | Total triiodothyronine test system | 1 |
| A.1715 | 三碘甲狀腺素吸收試驗系統 | Triiodothyronine uptake test system | 1 |
| A.1720 | 丙醣磷酸同質酵素試驗系統 | Triose phosphate isomerase test system | 1 |
| A.1725 | 胰蛋白酶試驗系統 | Trypsin test system | 1 |
| A.1730 | 游離酥氨基酸試驗系統 | Free tyrosine test system | 1 |
| A.1775 | 尿酸試驗系統 | Uric acid test system | 1 |
| A.1780 | 尿道結石試驗系統 | Urinary calculi (stones) test system | 1 |
| A.1785 | 尿道尿膽素鹽（非定量）試驗系統 | Urinary urobilinogen (nonquantitative) test system | 1 |
| A.1790 | 尿紫質試驗系統 | Uroporphyrin test system | 1 |
| A.1795 | 梵尼蘭杏仁酸試驗系統 | Vanilmandelic acid test system | 1 |
| A.1805 | 維生素A試驗系統 | Vitamin A test system | 1 |
| A.1815 | 維生素E試驗系統 | Vitamin E test system | 1 |
| A.1820 | 木糖試驗系統 | Xylose test system | 1 |
| A.2270 | 臨床使用的薄層色層分析系統 | Thin-layer chromatography system for clinical use | 1 |
| A.3050 | 呼吸中酒精試驗系統 | Breath-alcohol test system | 1 |
| A.3110 | 銻試驗系統 | Antimony test system | 1 |
| A.3120 | 砷試驗系統 | Arsenic test system | 1 |
| A.3220 | 一氧化碳試驗系統 | Carbon monoxide test system | 1 |
| A.3240 | 膽素酯酵素試驗系統 | Cholinesterase test system | 1 |
| A.3600 | 汞試驗系統 | Mercury test system | 1 |
| A.3750 | 奎寧試驗系統 | Quinine test system | 1 |
| A.3850 | 磺胺試驗系統 | Sulfonamide test system | 1 |

| 二、血液學及病理學裝置（除量測儀器外） |  |
| --- | --- |
|  | (HEMATOLOGY AND PATHOLOGY DEVICES) |  |
| 代碼 | 中文名稱 | 英文名稱 | 等級 |
| B.1850 | 染料及化學溶液染料 | Dye and chemical solution stains | 1 |
| B.1860 | 免疫病理組織化學試劑與套組 | Immunohistochemistry reagents and kits | 1 |
| B.2220 | 合成細胞和組織培養基及成份 | Synthetic cell and tissue culture media and components | 1 |
| B.2260 | 染色體培養組 | Chromosome culture kit | 1 |
| B.2280 | 經培養之動物和人體細胞 | Cultured animal and human cells | 1 |
| B.2360 | 黴漿菌屬偵測培養基及成份 | Mycoplasma detection media and components | 1 |
| B.2800 | 動物和人體血清 | Animal and human sera | 1 |
| B.2875 | 平衡鹽溶液或配方 | Balanced salt solutions or formulations | 1 |
| B.4010 | 一般目的之反應試劑 | General purpose reagent | 1 |
| B.4020 | 分析特定試劑 | Analyte specific reagents | 1 |
| B.4400 | 酵素製劑 | Enzyme preparations | 1 |
| B.5800 | 自動沉降速率裝置 | Automated sedimentation rate device | 1 |
| B.6100 | 流血時間測量裝置 | Bleeding time device | 1 |
| B.6150 | 毛細血管血液收集管 | Capillary blood collection tube | 1 |
| B.6160 | 手動血球計數裝置 | Manual blood cell counting device | 1 |
| B.6400 | 血球容積測量裝置 | Hematocrit measuring device | 1 |
| B.6600 | 滲透脆性試驗 | Osmotic fragility test | 1 |
| B.6700 | 紅血球沈澱速率試驗 | Erythrocyte sedimentation rate test | 1 |
| B.7040 | 三磷酸腺苷釋出分析 | Adenosine triphosphate release assay | 1 |
| B.7660 | 白血球鹼性磷酸鹽酵素試驗 | Leukocyte alkaline phosphatase test | 1 |
| B.7675 | 白血球過氧化酵素試驗 | Leukocyte peroxidase test | 1 |
| B.7900 | 血栓形成質產生試驗 | Thromboplastin generation test | 1 |
| B.8200 | 血球稀釋劑 | Blood cell diluent | 1 |
| B.8500 | 淋巴球分離培養基 | Lymphocyte separation medium | 1 |
| B.8540 | 紅血球溶解劑 | Red cell lysing reagent | 1 |
| B.8950 | 勒塞耳氏毒蛇之蛇毒反應劑 | Russell viper venom reagent | 1 |
| B.9050 | 血庫供應 | Blood bank supplies | 1 |
| B.9125 | 真空血液收集系統 | Vacuum-assisted blood collection system | 1 |
| B.9185 | 血型觀察箱 | Blood grouping view box | 1 |
| B.9225 | 體外診斷用的細胞冷凍設備及反應劑 | Cell-freezing apparatus and reagents for in vitro diagnostic use | 1 |
| B.9320 | 確定比重所用的硫酸銅溶液 | Copper sulfate solution for specific gravity determinations | 1 |
| B.9550 | 植物凝血素及凝血前素 | Lectins and protectins | 1 |
| B.9575 | 保存血小板濃縮液之容器 | Environmental chamber for storage of platelet concentrate | 1 |
| B.9600 | 體外診斷用的強化培養基 | Potentiating media for in vitro diagnostic use | 1 |
| B.9700 | 血液保存之冰箱與冷凍箱 | Blood storage refrigerator and blood storage freezer | 1 |
| B.9750 | 加熱密封器材 | Heat-sealing device | 1 |

| 三、免疫學及微生物學裝置（除量測儀器外） |  |
| --- | --- |
|  | (IMMUNOLOGY AND MICROBIOLOGY DEVICES) |  |
| 代碼 | 中文名稱 | 英文名稱 | 等級 |
| C.0003 | 螺旋桿菌屬血清試劑 | Helicobacter spp. serological reagents | 1 |
| C.2050 | 葡萄球菌分類噬菌體 | Staphylococcal typing bacteriophage | 1 |
| C.2160 | 凝血酵素血漿 | Coagulase plasma | 1 |
| C.2300 | 多功能培養基 | Multipurpose culture medium | 1 |
| C.2320 | 鑑別培養基 | Differential culture medium | 1 |
| C.2330 | 集菌培養基 | Enriched culture medium | 1 |
| C.2350 | 微生物分析培養基 | Microbiological assay culture medium | 1 |
| C.2360 | 選擇性培養基 | Selective culture medium | 1 |
| C.2390 | 輸送培養基 | Transport culture medium | 1 |
| C.2450 | 培養基之添加物 | Supplement for culture media | 1 |
| C.2480 | 培養基的品質管制器材組 | Quality control kit for culture media | 1 |
| C.2500 | 微滴定稀釋及分配器材 | Microtiter diluting and dispensing device | 1 |
| C.2580 | 產氣器材 | Gas-generating device | 1 |
| C.2600 | Wood氏螢光燈 | Wood's fluorescent lamp | 1 |
| C.2660 | 微生物鑑別及測定器材 | Microorganism differentiation and identification device | 1 |
| C.2900 | 微生物樣本收集及輸送器材 | Microbiological specimen collection and transport device | 1 |
| C.3010 | Acinetobacter calcoaceticus血清試劑 | Acinetobacter calcoaceticus serological reagents | 1 |
| C.3020 | 腺病毒血清試劑 | Adenovirus serological reagents | 1 |
| C.3035 | 亞歷桑納屬血清試劑 | Arizona spp.serological reagents | 1 |
| C.3040 | 麴菌屬血清試劑 | Aspergillus spp. serological reagents | 1 |
| C.3060 | 皮炎芽生菌血清試劑 | Blastomyces dermatitidis serological reagents | 1 |
| C.3065 | 博德氏球桿菌屬血清試劑 | Bordetella spp. serological reagents | 1 |
| C.3085 | 布魯氏菌屬血清反應劑 | Brucella spp. serological reagents | 1 |
| C.3110 | 胎兒彎曲畸形菌屬血清試劑 | Campylobacter fetus serological reagents | 1 |
| C.3120 | 披衣菌屬血清試劑 | Chlamydia serological reagents | 1 |
| C.3125 | 產檸檬酸菌屬血清試劑 | Citrobacter spp.serological reagents | 1 |
| C.3135 | 厭酷球孢子菌血清試劑 | Coccidioides immitis serological reagents | 1 |
| C.3140 | 棒狀桿菌屬血清試劑 | Corynebacterium spp.serological reagents | 1 |
| C.3145 | 柯沙奇病毒血清試劑 | Coxsackievirus serological reagents | 1 |
| C.3165 | 新形隱球菌屬血清試劑 | Cryptococcus neoformans serological reagents | 1 |
| C.3200 | 胞虫囊血清試劑 | Echinococcus spp. serological reagents | 1 |
| C.3205 | Echo病毒血清試劑 | Echovirus serological reagents | 1 |
| C.3220 | 溶組織阿米巴血清試劑 | Entamoeba histolytica serological reagents | 1 |
| C.3235 | EB病毒血清試劑 | Epstein-Barr virus serological reagents | 1 |
| C.3240 | 馬的腦脊髓炎病毒血清試劑 | Equine encephalomyelitis virus serological reagents | 1 |
| C.3250 | 豬丹毒桿菌血清試劑 | Erysipelothrix rhusiopathiae serological reagents | 1 |
| C.3255 | 大腸桿菌血清試劑 | Escherichia coli serological reagents | 1 |
| C.3270 | 黃質菌屬血清試劑 | Flavobacterium spp. serological reagents | 1 |
| C.3280 | 土拉熱桿菌病血清試劑 | Francisella tularensis serological reagents | 1 |
| C.3300 | 嗜血桿菌屬血清試劑 | Haemophilus spp. serological reagents | 1 |
| C.3320 | 莢膜組織孢漿菌血清試劑 | Histoplasma capsulatum serological ragents | 1 |
| C.3330 | 流行性感冒病毒血清試劑 | Influenza virus serological reagents | 1 |
| C.3340 | 克雷白氏桿菌屬血清試劑 | Klebsiella spp. serological reagents | 1 |
| C.3350 | 鉤端螺旋菌屬血清試劑 | Leptospira spp. serological reagents | 1 |
| C.3355 | 李司特氏菌屬血清試劑 | Listeria spp. serological reagents | 1 |
| C.3360 | 淋巴球性脈絡叢腦膜炎病毒血清試劑 | Lymphocytic chorimeningitis virus serological reagents | 1 |
| C.3370 | 結核桿菌免疫螢光試劑 | Mycobacterium tuberculosis immunofluorescent reagents | 1 |
| C.3375 | 黴漿菌屬血清試劑 | Mycoplasma spp. serological reagents | 1 |
| C.3380 | 腮腺炎病毒血清試劑 | Mumps virus serological reagents | 1 |
| C.3400 | 副流行性感冒病毒血清試劑 | Parainfluenza virus serological reagents | 1 |
| C.3405 | 小兒麻痺病毒血清試劑 | Poliovirus serological reagents | 1 |
| C.3410 | 變形桿菌屬（Weil-Felix）血清試劑 | Proteus spp. (Weil-Felix) serological reagents | 1 |
| C.3415 | 假單胞菌屬血清試劑 | Pseudomonas spp. serological reagents | 1 |
| C.3470 | 孤腸呼病毒血清試劑 | Reovirus serological reagents | 1 |
| C.3480 | 呼吸道融合細胞病毒血清試劑 | Respiratory syncytial virus serological reagents | 1 |
| C.3490 | 鼻病毒血清試劑 | Rhinovirus serological reagents | 1 |
| C.3500 | 立克次體血清試劑 | Rickettsia serological reagents | 1 |
| C.3520 | 麻疹病毒血清試劑 | Rubeola (measles) virus serological reagents | 1 |
| C.3550 | 沙門氏菌屬血清試劑 | Salmonella spp. serological reagents | 1 |
| C.3600 | 血吸虫屬血清試劑 | Schistosoma spp. serological reagents | 1 |
| C.3630 | 沙雷氏菌屬血清試劑 | Serratia spp. serological reagents | 1 |
| C.3660 | 志賀氏桿菌屬血清試劑 | Shigella spp.serological reagents | 1 |
| C.3680 | 申克氏孢子絲菌 | Sporothrix schenckii serological reagents | 1 |
| C.3700 | 金黃色葡萄球菌血清試劑 | Staphylococcus aureus serological reagents | 1 |
| C.3720 | 鏈球菌屬外酵素試劑 | Streptococcus spp. exoenzyme reagents | 1 |
| C.3740 | 鏈球菌屬血清試劑 | Streptococcus spp. serological reagents | 1 |
| C.3850 | 旋毛虫血清試劑 | Trichinella spiralis serological reagents | 1 |
| C.3870 | 錐虫屬血清試劑 | Trypanosoma spp. serological reagents | 1 |
| C.3930 | 霍亂弧菌血清試劑 | Vibrio cholerae serological reagents | 1 |
| C.4100 | 補體試劑 | Complement reagent | 1 |
| C.4900 | 支持凝膠 | Support gel | 1 |
| C.5040 | 白蛋白免疫試驗系統 | Albumin immunological test system | 1 |
| C.5060 | 前白蛋白免疫試驗系統 | Prealbumin immunological test system | 1 |
| C.5065 | 人體同種異型標記免疫試驗系統 | Human allotypic marker immunological test system | 1 |
| C.5160 | β-球蛋白免疫試驗系統 | Beta-globulin immunological test system | 1 |
| C.5170 | 母乳免疫試驗系統 | Breast milk immunological test system | 1 |
| C.5200 | 醣脫水酵素B及C免疫試驗系統 | Carbonic anhydrase B and C immunological test system | 1 |
| C.5220 | Cohn fraction II（一種蛋白質分離法）免疫試驗系統 | Cohn fraction II immunological test system | 1 |
| C.5230 | 初乳免疫試驗系統 | Colostrum immunological test system | 1 |
| C.5320 | 破壞素B因子免疫試驗系統 | Properdin factor B immunological test system | 1 |
| C.5330 | 第十三，A，S，因子免疫試驗系統 | Factor XIII, A, S, immunological test system | 1 |
| C.5360 | Cohn fraction IV免疫試驗系統 | Cohn fraction IV immunological test system | 1 |
| C.5370 | Cohn fraction V免疫試驗系統 | Cohn fraction V immunological test system | 1 |
| C.5380 | 游離分泌補體免疫試驗系統 | Free secretory component immunological test system | 1 |
| C.5400 | α-球蛋白免疫試驗系統 | Alpha-globulin immunological test system | 1 |
| C.5420 | α-1-醣蛋白免疫試驗系統 | Alpha-1-glycoproteins immunological test system | 1 |
| C.5425 | α-2-醣蛋白免疫試驗系統 | Alpha-2-glycoproteins immunological test system | 1 |
| C.5430 | β-2-醣蛋白I免疫試驗系統 | Beta-2-glycoprotein I immunological test system | 1 |
| C.5440 | β-2-醣蛋白III免疫試驗系統 | Beta-2-glycoprotein III immunological test system | 1 |
| C.5460 | 結合球蛋白免疫試驗系統 | Haptoglobin immunological test system | 1 |
| C.5490 | 凝血酵素免疫試驗系統 | Hemopexin immunological test system | 1 |
| C.5520 | 免疫球蛋白G（Fab特定片段）免疫試驗系統 | Immunoglobulin G (Fab fragment specific) immunological test system | 1 |
| C.5530 | 免疫球蛋白G（Fc特定片段）免疫試驗系統 | Immunoglobulin G (Fc fragment specific) immunological test system | 1 |
| C.5540 | 免疫球蛋白G（Fd特定片段）免疫試驗系統 | Immunoglobulin G (Fd fragment specific) immunological test system | 1 |
| C.5560 | 乳酸去氫免疫試驗系統 | Lactic dehydrogenase immunological test system | 1 |
| C.5570 | 乳膽鐵質免疫試驗系統 | Lactoferrin immunological test system | 1 |
| C.5590 | 脂蛋白X免疫試驗系統 | Lipoprotein X immunological test system | 1 |
| C.5700 | 人類全血漿或血清免疫試驗系統 | Whole human plasma or serum immunological test system | 1 |
| C.5715 | 胞漿素原免疫試驗系統 | Plasminogen immunological test system | 1 |
| C.5735 | 前凝血酵素免疫試驗系統 | Prothrombin immunological test system | 1 |
| C.5765 | 核黃素結合蛋白免疫試驗系統 | Retinol-binding protein immunological test system | 1 |
| C.5800 | 精液（精子）免疫試驗系統 | Seminal fluid (sperm) immunological test system | 1 |
| C.5860 | 全脊髓液免疫試驗系統 | Total spinal fluid immunological test system | 1 |
| C.5890 | α間胰蛋白抑制劑免疫試驗系統 | Inter-alpha trypsin inhibitor immunological test system | 1 |

| 四、麻醉學科用裝置 |  |
| --- | --- |
|  | (ANESTHESIOLOGY DEVICES) |  |
| 代碼 | 中文名稱 | 英文名稱 | 等級 |
| D.1100 | 動脈血液取樣組 | Arterial blood sampling kit | 1 |
| D.1575 | 氣體收集容器 | Gas collection vessel | 1 |
| D.1910 | 食道聽診器 | Esophageal stethoscope | 1 |
| D.1930 | 食道聽診器探頭 | Stethoscope head | 1 |
| D.5100 | 鼻咽氣道管 | Nasopharyngeal airway | 1 |
| D.5110 | 口咽氣道管 | Oropharyngeal airway | 1 |
| D.5220 | 吹氣瓶 | Blow bottle | 1 |
| D.5240 | 麻醉呼吸管路 | Anesthesia breathing circuit | 1 |
| D.5280 | 呼吸管路支撐物 | Breathing tube support | 1 |
| D.5300 | 二氧化碳吸收劑 | Carbon dioxide absorbent | 1 |
| D.5310 | 二氧化碳吸收器 | Carbon dioxide absorber | 1 |
| D.5320 | 儲氣囊 | Reservoir bag | 1 |
| D.5340 | 經鼻氧氣套管 | Nasal oxygen cannula | 1 |
| D.5350 | 經鼻氧氣導管 | Nasal oxygen catheter | 1 |
| D.5365 | 心肺姿勢治療椅 | Posture chair for cardiac or pulmonary treatment | 1 |
| D.5375 | 熱及濕氣凝結器（人工鼻） | Heat and moisture condenser (artificial nose) | 1 |
| D.5460 | 家用治療潮濕器 | Therapeutic humidifier for home use | 1 |
| D.5530 | 可彎曲式喉頭鏡 | Flexible laryngoscope | 1 |
| D.5540 | 硬式喉頭鏡 | Rigid laryngoscope | 1 |
| D.5550 | 麻醉氣體面罩 | Anesthetic gas mask | 1 |
| D.5560 | 氣體面罩頭套帶 | Gas mask head strap | 1 |
| D.5570 | 非重吸入式呼吸面罩 | Nonrebreathing mask | 1 |
| D.5580 | 氧氣面罩 | Oxygen mask | 1 |
| D.5590 | 排氣面罩 | Scavenging mask | 1 |
| D.5600 | Venturi面罩 | Venturi mask | 1 |
| D.5620 | 呼吸咬嘴 | Breathing mouthpiece | 1 |
| D.5640 | 非呼吸用醫藥噴霧器 | Medicinal nonventilatory nebulizer (atomizer) | 1 |
| D.5675 | 再吸入裝置 | Rebreathing device | 1 |
| D.5700 | 非動力式氧氣帳 | Nonpowered oxygen tent | 1 |
| D.5770 | 氣管管路固定裝置 | Tracheal tube fixation device | 1 |
| D.5780 | 管路導引鉗 | Tube introduction forceps | 1 |
| D.5790 | 氣管內管探針 | Tracheal tube stylet | 1 |
| D.5810 | 氣道連接器 | Airway connector | 1 |
| D.5820 | 牙齒保護器 | Dental protector | 1 |
| D.5860 | 壓力管路及其附件 | Pressure tubing and accessories | 1 |
| D.5975 | 呼吸器管路 | Ventilator tubing | 1 |
| D.5995 | T形引流器（集水器） | Tee drain (water trap) | 1 |
| D.6810 | 氣管支氣管抽吸導管 | Tracheobronchial suction catheter | 1 |
| D.6885 | 醫用氣體接頭組 | Medical gas yoke assembly | 1 |

| 五、心臟血管用裝置 |  |
| --- | --- |
|  | (CARDIOVASCULAR DEVICES ) |  |
| 代碼 | 中文名稱 | 英文名稱 | 等級 |
| E.1875 | 聽診器 | Stethoscope | 1 |
| E.3650 | 心律調節器之聚合物網狀袋 | Pacemaker polymeric mesh bag | 1 |
| E.3730 | 心律調節器維修工具 | Pacemaker service tools | 1 |
| E.3935 | 心臟瓣膜彌補物之支撐物 | Prosthetic heart valve holder | 1 |
| E.4200 | 心肺血管繞道術輔助設備 | Cardiopulmonary bypass accessory equipment | 1 |
| E.4500 | 心臟血管外科器械 | Cardiovascular surgical instruments | 1 |

| 六、牙科裝置 |  |
| --- | --- |
|  | (DENTAL DEVICES) |  |
| 代碼 | 中文名稱 | 英文名稱 | 等級 |
| F.0001 | 排齦線 | Retraction cord | 1 |
| F.1730 | 牙髓測試器用電極膠 | Electrode gel for pulp tester | 1 |
| F.1820 | 牙科用X光片照射排列裝置 | Dental x-ray exposure alignment device | 1 |
| F.1840 | 牙科用X光片位置指示裝置 | Dental x-ray position indicating device | 1 |
| F.1850 | 鉛線位置指示器 | Lead-lined position indicator | 1 |
| F.2050 | 牙科超音波描記裝置 | Dental sonography device | 1 |
| F.2060 | 頷骨輪廓標記裝置 | Jaw tracking device | 1 |
| F.3100 | 牙科用和汞器 | Dental amalgamator | 1 |
| F.3110 | 牙科用汞齊膠囊 | Dental amalgam capsule | 1 |
| F.3130 | 成型鉤 | Preformed anchor | 1 |
| F.3140 | 樹脂塗敷器 | Resin applicator | 1 |
| F.3165 | 精密接著體 | Precision attachment | 1 |
| F.3240 | 牙科用圓頭銼 | Dental bur | 1 |
| F.3275 | 牙科用水泥（士敏汀） | Dental cement | 1 |
| F.3285 | 預成型牙鉤 | Preformed clasp | 1 |
| F.3330 | 成型牙冠 | Preformed crown | 1 |
| F.3350 | 黃金或不銹鋼咬頭 | Gold or stainless steel cusp | 1 |
| F.3360 | 成型咬頭 | Preformed cusp | 1 |
| F.3400 | 梧桐膠合硼酸鈉含或不含阿拉伯樹膠 | Karaya and sodium borate with or without acacia denture adhesive | 1 |
| F.3410 | 氧化乙烯聚合物和／或羧基甲基纖維素鈉假牙黏著劑 | Ethylene oxide homopolymer and/or carboxymethyl-cellulose sodium denture adhesive | 1 |
| F.3450 | 氧化乙烯聚合物或印度樹膠假牙黏著劑 | Ethylene oxide homopolymer and/or karaya denture adhesive | 1 |
| F.3490 | 胺基甲基纖維素鈉、和／或聚乙烯甲基醚順丁烯二酸鈣鈉複鹽假牙黏著劑 | Carboxymethylcellulose sodium and/or polyvinylmethylether maleic acid calcium-sodium double salt denture adhesive | 1 |
| F.3520 | 不需處方之假牙清潔劑 | OTC denture cleanser | 1 |
| F.3530 | 機械式假牙清潔器 | Mechanical denture cleaner | 1 |
| F.3540 | 假牙襯墊 | OTC denture cushion or pad | 1 |
| F.3580 | 成形金屬假牙床 | Preformed gold denture tooth | 1 |
| F.3670 | 樹脂印模牙托材 | Resin impression tray material | 1 |
| F.3700 | 牙科用汞齊 | Dental mercury | 1 |
| F.3740 | 保持釘和固定夾板 | Retentive and splinting pin | 1 |
| F.3810 | 根管中心柱釘 | Root canal post | 1 |
| F.3830 | 根管紙針 | Endodontic paper point | 1 |
| F.3840 | 根管銀針 | Endodontic silver point | 1 |
| F.3850 | 馬來膠 | Gutta percha | 1 |
| F.3900 | 有金屬鑲嵌的人工後牙 | Posterior artificial tooth with a metal insert | 1 |
| F.3910 | 人工牙的底和面 | Backing and facing for an artificial tooth | 1 |
| F.3980 | 牙齒骨內植入物附件 | Endosseous dental implant accessories | 1 |
| F.4130 | 口內牙鑽頭 | Intraoral dental drill | 1 |
| F.4200 | 牙科手機及其附件 | Dental handpiece and accessories | 1 |
| F.4535 | 牙科用鑽石器械 | Dental diamond instrument | 1 |
| F.4565 | 牙科手用器械 | Dental hand instrument | 1 |
| F.4620 | 光纖維牙科用光源 | Fiber optic dental light | 1 |
| F.4630 | 牙科用手術燈 | Dental operating light | 1 |
| F.4730 | 牙科用注射針 | Dental injecting needle | 1 |
| F.5410 | 牙科矯正裝置及其附件 | Orthodontic appliance and accessories | 1 |
| F.5525 | 成形牙齒定位器 | Preformed tooth positioner | 1 |
| F.5550 | 牙齒咬環 | Teething ring | 1 |
| F.6010 | 研磨裝置及其附件 | Abrasive device and accessories | 1 |
| F.6030 | 口腔研磨磨光劑 | Oral cavity abrasive polishing agent | 1 |
| F.6050 | 唾液吸收器 | Saliva absorber | 1 |
| F.6100 | 麻醉劑加溫器 | Anesthetic warmer | 1 |
| F.6140 | 咬合紙 | Articulation paper | 1 |
| F.6200 | 基底塗料 | Base plate shellac | 1 |
| F.6250 | 牙科治療椅及其附件 | Dental chair and accessories | 1 |
| F.6290 | 預防杯形物 | Prophylaxis cup | 1 |
| F.6300 | 橡皮障及其附件 | Rubber dam and accessories | 1 |
| F.6475 | 漂白牙齒的熱源 | Heat source for bleaching teeth | 1 |
| F.6570 | 印模管 | Impression tube | 1 |
| F.6640 | 牙科手術裝置及其附件 | Dental operative unit and accessories | 1 |
| F.6670 | 矽酸鹽保護器 | Silicate protector | 1 |
| F.6710 | 水熱式滅菌器 | Boiling water sterilizer | 1 |
| F.6870 | 拋棄式塗氟用牙托 | Disposable fluoride tray | 1 |
| F.6880 | 成形印模牙托 | Preformed impression tray | 1 |
| F.6890 | 口內牙科用臘 | Intraoral dental wax | 1 |

| 七、耳鼻喉科用裝置 |  |
| --- | --- |
|  | (EAR,NOSE,AND THORAT DEVICES) |  |
| 代碼 | 中文名稱 | 英文名稱 | 等級 |
| G.1100 | 聽力檢查耳機軟墊 | Earphone cushion for audiometric testing | 1 |
| G.1600 | 嗅覺測試裝置 | Olfactory test device | 1 |
| G.1925 | Toynbee氏耳咽管功能診斷管 | Toynbee diagnostic tube | 1 |
| G.3300 | 助聽器 | Hearing aid | 1 |
| G.3375 | 電池動力式人工喉發聲器 | Battery-powered artificial larynx | 1 |
| G.3540 | 聽小骨置換物修正用器械 | Prosthesis modification instrument for ossicular replacement surgery | 1 |
| G.3900 | 鼻腔擴大器 | Nasal dilator | 1 |
| G.4100 | 止鼻血用氣球 | Epistaxis balloon | 1 |
| G.4140 | 耳鼻喉科用圓銼 | Ear, nose, and throat bur | 1 |
| G.4175 | 鼻咽部導管 | Nasopharyngeal catheter | 1 |
| G.4350 | 耳鼻喉光纖光源及載具 | Ear, nose, and throat fiberoptic light source and carrier | 1 |
| G.4420 | 耳鼻喉手動式外科器械 | Ear, nose, and throat manual surgical instrument | 1 |
| G.4750 | 喉頭閃頻內視鏡 | Laryngostroboscope | 1 |
| G.4770 | 耳鏡 | Otoscope | 1 |
| G.4780 | 鼻腔內固定夾板 | Intranasal splint | 1 |
| G.4800 | 骨粒子收集器 | Bone Particle collector | 1 |
| G.5220 | 耳鼻喉佈施藥裝置 | Ear, nose, and throat drug administration device | 1 |
| G.5300 | 耳鼻喉檢查及治療檯 | Ear, nose, and throat examination and treatment unit | 1 |
| G.5550 | 動力式鼻沖洗器 | Powered nasal irrigator | 1 |
| G.5800 | 鼻外固定板 | External nasal splint | 1 |
| G.5840 | 口吃矯正器材 | Antistammering device | 1 |

| 八、胃腸病學－泌尿學科用裝置 |  |
| --- | --- |
|  | (GASTROENTROLOGY-UROLOGY DEVICES) |  |
| 代碼 | 中文名稱 | 英文名稱 | 等級 |
| H.1075 | 腸胃科－泌尿科生檢器械 | Gastroenterology-urology biopsy instrument | 1 |
| H.4530 | 胃腸科－泌尿科光纖牽引器 | Gastroenterolgy-urology fiberoptic retractor | 1 |
| H.4560 | 肋骨障 | Ribdam | 1 |
| H.4590 | 連接尿道用探條 | Interlocking urethral sound | 1 |
| H.4730 | 手動式胃腸科－泌尿科手術器械及其附件 | Manual gastroenterolgoy-urology surgical instrument and accessories | 1 |
| H.4890 | 泌尿手術檯及其附件 | Urological table and accessories | 1 |
| H.5030 | 自制式迴腸造口術用導管 | Continent ileostomy catheter | 1 |
| H.5090 | 恥骨上位的導尿管及其附件 | Suprapubic urological catheter and accessories | 1 |
| H.5130 | 泌尿導管及其附件 | Urological catheter and accessories | 1 |
| H.5160 | 男性尿道夾 | Urological clamp for males | 1 |
| H.5210 | 灌腸組套 | Enema kit | 1 |
| H.5450 | 直腸擴張器 | Rectal dilator | 1 |
| H.5520 | 尿道擴張器 | Urethral dilator | 1 |
| H.5900 | 造口術用袋及其附件 | Ostomy pouch and accessories | 1 |
| H.5970 | 疝脫支撐器 | Hernia support | 1 |
| H.5980 | 胃腸管及其附件 | Gastrointestinal tube and accessories | 1 |

| 九、一般及整型外科手術裝置 |  |
| --- | --- |
|  | (GENERAL AND PLASTIC SURGERY DEVICES) |  |
| 代碼 | 中文名稱 | 英文名稱 | 等級 |
| I.1800 | 檢查鏡及其附件 | Speculum and accessories | 1 |
| I.3250 | 體外顏面骨折固定裝置 | External facial fracture fixation appliance | 1 |
| I.3750 | 體外彌補物之黏貼物 | External prosthesis adhesive | 1 |
| I.3800 | 體外美容用修復彌補物 | External aesthetic restoration prosthesis | 1 |
| I.3900 | 膨脹式四肢用夾板 | Inflatable extremity splint | 1 |
| I.3910 | 非膨脹式四肢用夾板 | Noninflatable extremity splint | 1 |
| I.3925 | 整形外科手術組套及其附件 | Plastic surgery kit and accessories | 1 |
| I.4014 | 外部使用非吸收式紗布或海綿球 | Nonresorbable gauze/sponge for external use | 1 |
| I.4018 | 親水性創傷覆蓋材 | Hydrophilic wound dressing | 1 |
| I.4020 | 閉合用傷口／燒燙傷敷料 | Occlusive wound/burn dressing | 1 |
| I.4022 | 水性創傷與燒傷覆蓋材 | Hydrogel wound dressing and burn dressing | 1 |
| I.4025 | 矽膠片 | Silicone sheeting | 1 |
| I.4040 | 外科手術用衣物（外科手術衣及面罩） | Surgical apparel(Surgical gowns and surgical masks) | 1 |
| I.4100 | 器官袋 | Organ bag | 1 |
| I.4160 | 外科手術用照相機及其附件 | Surgical camera and accessories | 1 |
| I.4200 | 導入／引流導管及其附件 | Introduction/drainage catheter and accessories | 1 |
| I.4320 | 可拆除式皮膚夾 | Removable skin clip | 1 |
| I.4380 | 覆巾用黏貼物 | Drape adhesive | 1 |
| I.4440 | 眼墊（Eye pad） | Eye pad | 1 |
| I.4450 | 體內用不被吸收紗布 | Nonabsorbable gauze for internal use | 1 |
| I.4470 | 手術用手套乳劑 | Surgeon's gloving cream | 1 |
| I.4660 | 皮膚標記用筆 | Skin marker | 1 |
| I.4680 | 非動力式，單一病人使用，可攜帶式之抽吸器具 | Nonpowered,single patient,portable suction apparatus | 1 |
| I.4700 | 外科顯微鏡及其附件 | Surgical microscope and accessories | 1 |
| I.4730 | 外科用皮膚去油劑或去黏劑 | Surgical skin degreaser or adhesive tape solvent | 1 |
| I.4760 | 可拆除式皮膚縫合釘 | Removable skin staple | 1 |
| I.4800 | 一般手術用手動式器械 | Manual surgical instrument for general use | 1 |
| I.4810 | 一般外科、整形外科及皮膚科用雷射儀 | Laser surgical instrument for use in general and plastic surgery and in dermatology | 1 |
| I.4820 | 手術用器具馬達與配件或附件 | Surgical instrument motors and accessories/attachments | 1 |
| I.4930 | 縫線置留裝置 | Suture retention device | 1 |
| I.4950 | 手動式外科手術、手術椅及其附件 | Manual operating table and accessories and manual operating chair and accessories | 1 |
| I.4960 | 電動或氣動式外科手術、手術椅及其附件 | Operating tables and accessories and operating chairs and accessories | 1 |
| I.5350 | 探針式除毛機 | Needle-type epilator | 1 |
| I.5360 | 拔毛鉗式除毛機 | Tweezer-type epilator | 1 |
| I.5900 | 非充氣式止血帶 | Nonpneumatic tourniquet | 1 |
| I.5910 | 充氣式止血帶 | Pneumatic tourniquet | 1 |

| 十、一般醫院及個人使用裝置 |  |
| --- | --- |
|  | (GENERAL HOSPITAL AND PERSONAL USE DEVICES) |
| 代碼 | 中文名稱 | 英文名稱 | 等級 |
| J.2200 | 前額液晶體溫片 | Liquid crystal forehead temperature strip | 1 |
| J.2400 | 床邊病患監視器 | Bed-patient monitor | 1 |
| J.2900 | 臨床變色體溫計 | Clinical color change thermometer | 1 |
| J.5075 | 彈性繃帶 | Elastic bandage | 1 |
| J.5090 | 液體性繃帶 | Liquid bandage | 1 |
| J.5110 | 水壓可調整式病床 | Hydraulic adjustable hospital bed | 1 |
| J.5120 | 手動可調整式病床 | Manual adjustable hospital bed | 1 |
| J.5150 | 非動力式治療床墊 | Nonpowered flotation therapy mattress | 1 |
| J.5160 | 醫療用束帶 | Therapeutic medical binder | 1 |
| J.5180 | 灼傷片 | Burn sheet | 1 |
| J.5210 | 血管內導管固定裝置 | Intravascular catheter securement device | 1 |
| J.5240 | 醫療用黏性膠帶及黏性繃帶 | Medical adhesive tape and adhesive bandage | 1 |
| J.5270 | 新生兒用眼罩 | Neonatal eye pad | 1 |
| J.5300 | 醫療用吸收纖維 | Medical absorbent fiber | 1 |
| J.5420 | 輸血袋用壓力器 | Pressure infusor for an I.V. bag | 1 |
| J.5510 | 非交流電力式病患升降機 | Non-AC-powered patient lift | 1 |
| J.5550 | 交替式壓力氣墊床 | Alternating pressure air flotation mattress | 1 |
| J.5560 | 溫度調節式水床墊 | Temperature regulated water mattress | 1 |
| J.5630 | 乳頭保護罩 | Nipple shield | 1 |
| J.5680 | 小兒姿勢固定器 | Pediatric position holder | 1 |
| J.5740 | 蛇咬用傷口吸引組 | Suction snakebite kit | 1 |
| J.5780 | 醫用輔助襪 | Medical support stocking | 1 |
| J.5820 | 治療用陰囊支撐器 | Therapeutic scrotal support | 1 |
| J.5950 | 臍帶閉合器 | Umbilical occlusion device | 1 |
| J.6025 | 吸收性尖端塗藥器 | Absorbent tipped applicator | 1 |
| J.6150 | 醫療器械用超音波洗淨機 | Ultrasonic cleaner for medical instruments | 1 |
| J.6230 | 壓舌板 | Tongue depressor | 1 |
| J.6280 | 醫用鞋墊 | Medical insole | 1 |
| J.6375 | 病患用潤滑劑 | Patient lubricant | 1 |
| J.6430 | 液體藥物給藥器 | Liquid medication dispenser | 1 |
| J.6450 | 皮膚壓力保護器 | Skin pressure protectors | 1 |
| J.6760 | 保護性限制帶 | Protective restraint | 1 |
| J.6775 | 動力式病患輸送裝置 | Powered patient transfer device | 1 |
| J.6785 | 手動病患輸送裝置 | Manual patient transfer device | 1 |
| J.6820 | 醫用可拋棄式剪刀 | Medical disposable scissors | 1 |
| J.6890 | 一般醫療器械用消毒劑 | General purpose disinfectants | 1 |
| J.6900 | 手提式擔架 | Hand-carried stretcher | 1 |
| J.6910 | 輪式擔床 | Wheeled stretcher | 1 |
| J.6960 | 灌洗注射筒 | Irrigating syringe | 1 |
| J.6970 | 液晶靜脈定位器 | Liquid crystal vein locator | 1 |
| J.6980 | 靜脈固定器 | Vein stabilizer | 1 |
| J.6990 | 注射架 | Infusion stand | 1 |

| 十一、神經學科用裝置 |  |
| --- | --- |
|  | (NEUROLOGICAL DEVICES) |  |
| 代碼 | 中文名稱 | 英文名稱 | 等級 |
| K.1200 | 兩點式判讀儀 | Two-point discriminator | 1 |
| K.1500 | 觸覺計 | Esthesiometer | 1 |
| K.1525 | 調音叉 | Tuning fork | 1 |
| K.1925 | 超音波掃描器校正測試塊 | Ultrasonic scanner calibration test block | 1 |
| K.4030 | 顱骨板鐵砧 | Skull plate anvil | 1 |
| K.4060 | 腦室套管 | Ventricular cannula | 1 |
| K.4125 | 神經外科用椅 | Neurosurgical chair | 1 |
| K.4190 | 夾成形／切割器械 | Clip forming/cutting instrument | 1 |
| K.4200 | 去夾器械 | Clip removal instrument | 1 |
| K.4325 | 頭顱鑽手機 | Cranial drill handpiece(brace) | 1 |
| K.4500 | 頭顱造型術用材料形成工具 | Cranioplasty material forming instrument | 1 |
| K.4525 | 顯微手術器械 | Microsurgical instrument | 1 |
| K.4535 | 非動力式神經外科用器械 | Nonpowered neurosurgical instrument | 1 |
| K.4545 | 分流系統植入用器械 | Shunt system implantation instrument | 1 |
| K.4600 | 額葉白質刀 | Leukotome | 1 |
| K.4650 | 神經外科用縫合針 | Neurosurgical suture needle | 1 |
| K.4750 | 顱骨打洞器 | Skull punch | 1 |
| K.4900 | 顱骨板起子 | Skullplate screwdriver | 1 |

| 十二、婦產科用裝置 |  |
| --- | --- |
|  | (OBSTETRICAL AND GYNECOLOGICAL DEVICES) |  |
| 代碼 | 中文名稱 | 英文名稱 | 等級 |
| L.1640 | 陷凹鏡及其附件 | Culdoscope and accessories | 1 |
| L.1690 | 子宮鏡及其附件 | Hysteroscope and accessories | 1 |
| L.1700 | 子宮鏡灌入器 | Hysteroscopic insufflator | 1 |
| L.1720 | 婦產科用腹腔鏡及其附件 | Gynecologic laparoscope and accessories | 1 |
| L.1730 | 腹腔鏡灌入器 | Laparoscopic insufflator | 1 |
| L.2900 | 胎兒聽診器 | Fetal stethoscope | 1 |
| L.4520 | 婦產科用一般手動器械 | Obstetric-gynecologic general manual instrument | 1 |
| L.4530 | 婦產科專用手動器械 | Obstetric-gynecologic specialized manual instrument | 1 |
| L.5900 | 治療用陰道灌洗器 | Therapeutic vaginal douche apparatus | 1 |
| L.5920 | 陰道吹藥器 | Vaginal insufflator | 1 |
| L.6190 | 輔助生殖顯微鏡及其附件 | Assisted reproductive microscopes and microscope accessories | 1 |

| 十三、眼科用裝置 |  |
| --- | --- |
|  | (OPHTHALMIC DEVICES) |  |
| 代碼 | 中文名稱 | 英文名稱 | 等級 |
| M.1040 | 眼球觸覺計 | Ocular esthesiometer | 1 |
| M.1070 | 色盲檢查器 | Anomaloscope | 1 |
| M.1090 | Haidlinger刷 | Haidlinger brush | 1 |
| M.1140 | 眼科用椅 | Ophthalmic chair | 1 |
| M.1160 | 色覺板照明器 | Color vision plate illuminator | 1 |
| M.1200 | 眼球運動鼓狀器 | Optokinetic drum | 1 |
| M.1250 | 直視鏡 | Euthyscope | 1 |
| M.1290 | 固定裝置 | Fixation device | 1 |
| M.1320 | 穹窿鏡 | Fornixscope | 1 |
| M.1350 | 角膜鏡 | Keratoscope | 1 |
| M.1375 | Bagolini鏡片 | Bagolini lens | 1 |
| M.1380 | 診斷用聚光鏡片 | Diagnostic condensing lens | 1 |
| M.1390 | 診斷用彈性Fresnel鏡片 | Flexible diagnostic Fresnel lens | 1 |
| M.1395 | 診斷用Hruby眼底鏡片 | Diagnostic Hruby fundus lens | 1 |
| M.1400 | Maddox鏡 | Maddox lens | 1 |
| M.1405 | 眼科試驗鏡片組 | Ophthalmic trial lens set | 1 |
| M.1410 | 眼科試驗鏡片夾 | Ophthalmic trial lens clip | 1 |
| M.1435 | 馬克斯威氏點 | Maxwell spot | 1 |
| M.1460 | 立體感測量器 | Stereopsis measuring instrument | 1 |
| M.1605 | 視野鏡 | Perimeter | 1 |
| M.1650 | 眼科用棒狀稜鏡 | Ophthalmic bar prism | 1 |
| M.1655 | 眼科用Fresnel稜鏡 | Ophthalmic Fresnel prism | 1 |
| M.1660 | 視軸角度稜鏡 | Gonioscopic prism | 1 |
| M.1665 | 眼科旋轉稜鏡 | Ophthalmic rotary prism | 1 |
| M.1680 | 眼科用投影機 | Ophthalmic projector | 1 |
| M.1690 | 瞳孔圖儀 | Pupillograph | 1 |
| M.1700 | 瞳孔計 | Pupillometer | 1 |
| M.1750 | 視網膜檢影器架 | Skiascopic rack | 1 |
| M.1790 | 近點尺 | Nearpoint ruler | 1 |
| M.1800 | Schirmer試紙 | Schirmer strip | 1 |
| M.1810 | 切線幕（視野計） | Tangent screen (campimeter) | 1 |
| M.1870 | 立體鏡 | Stereoscope | 1 |
| M.1905 | 眼球震顫帶 | Nystagmus tape | 1 |
| M.1910 | 視覺分離試驗系統 | Spectacle dissociation test system | 1 |
| M.1940 | 眼壓計消毒器 | Tonometer sterilizer | 1 |
| M.1945 | 透照器 | Transilluminator | 1 |
| M.3200 | 義眼 | Artificial eye | 1 |
| M.4070 | 動力式角膜鑽孔器 | Powered corneal burr | 1 |
| M.4250 | 眼科用電解器 | Ophthalmic electrolysis unit | 1 |
| M.4300 | 人工水晶體導引器 | Intraocular lens guide | 1 |
| M.4335 | 手術用頭燈 | Operating headlamp | 1 |
| M.4350 | 手動式眼科手術器械 | Manual ophthalmic surgical instrument | 1 |
| M.4360 | 眼睛手術灌注裝置 | Ocular surgery irrigation device | 1 |
| M.4370 | 角膜刀 | Keratome | 1 |
| M.4570 | 眼科手術標記器 | Ophthalmic surgical marker | 1 |
| M.4750 | 眼科用眼罩 | Ophthalmic eye shield | 1 |
| M.4770 | 眼科用手術眼鏡（放大鏡） | Ophthalmic operating spectacles (loupes) | 1 |
| M.5600 | 上眼瞼下垂支持器 | Ptosis crutch | 1 |
| M.5842 | 鏡框 | Spectacle frame | 1 |
| M.5844 | 處方鏡片 | Prescription spectacle lens | 1 |

| 十四、骨科用裝置 |  |
| --- | --- |
|  | (ORTHOPEDIC DEVICES) |  |
| 代碼 | 中文名稱 | 英文名稱 | 等級 |
| N.1100 | 關節鏡 | Arthroscope | 1 |
| N.3000 | 骨臼帽 | Bone cap | 1 |
| N.4200 | 骨水泥分配器 | Cement dispenser | 1 |
| N.4210 | 臨床用骨水泥攪拌器 | Cement mixer for clinical use | 1 |
| N.4220 | 骨水泥單體蒸氣排除器 | Cement monomer vapor evacuator | 1 |
| N.4230 | 骨水泥通風管 | Cement ventilation tube | 1 |
| N.4540 | 手動式骨科手術器械 | Orthopedic manual surgical instrument | 1 |
| N.5850 | 非動力式骨科牽引器及配件 | Nonpowered orthopedic traction apparatus and accessories | 1 |
| N.5890 | 非侵入式牽引組件 | Noninvasive traction component | 1 |
| N.5940 | 石膏類產品 | Cast component | 1 |
| N.5960 | 石膏拆除器械 | Cast removal instrument | 1 |
| N.5980 | 手動式打石膏及拆石膏器械 | Manual cast application and removal instrument | 1 |

| 十五、物理醫學科用裝置 |  |
| --- | --- |
|  | (PHYSICAL MEDICINE DEVICES) |  |
| 代碼 | 中文名稱 | 英文名稱 | 等級 |
| O.0003 | 皮膚局部冷凍劑 | Topical refrigerant (vapocoolant) | 1 |
| O.1175 | 電極線 | Electrode cable | 1 |
| O.3025 | 義肢及裝具用附件 | Prosthetic and orthotic accessory | 1 |
| O.3075 | 醫療用手杖 | Cane | 1 |
| O.3100 | 機械椅 | Mechanical chair | 1 |
| O.3150 | 醫療用柺杖 | Crutch | 1 |
| O.3175 | 浮動坐墊 | Flotation cushion | 1 |
| O.3410 | 體外肢體裝具用組件 | External limb orthotic component | 1 |
| O.3420 | 體外肢體義肢用組件 | External limb prosthetic component | 1 |
| O.3475 | 肢體裝具 | Limb orthosis | 1 |
| O.3490 | 軀幹裝具 | Truncal orthosis | 1 |
| O.3500 | 體外組裝下肢義肢 | External assembled lower limb prosthesis | 1 |
| O.3520 | 治療檯 | Plinth | 1 |
| O.3640 | 手臂吊帶 | Arm sling | 1 |
| O.3665 | 先天性髖關節移位外展夾板 | Congenital hip dislocation abduction splint | 1 |
| O.3675 | 丹尼布朗夾板 | Denis Brown splint | 1 |
| O.3710 | 動力式溝通系統 | Powered communication system | 1 |
| O.3725 | 動力式環境控制系統 | Powered environmental control system | 1 |
| O.3750 | 機械式治療檯 | Mechanical table | 1 |
| O.3760 | 動力式治療檯 | Powered table | 1 |
| O.3825 | 機械式助行器 | Mechanical walker | 1 |
| O.3850 | 機械式輪椅 | Mechanical wheelchair | 1 |
| O.5125 | 非動力式坐浴 | Nonpowered sitz bath | 1 |
| O.5160 | 氣流床 | Air-fluidized bed | 1 |
| O.5170 | 動力式氣流漂浮治療床 | Powered flotation therapy bed | 1 |
| O.5180 | 手動式病人翻身床 | Manual patient rotation bed | 1 |
| O.5225 | 動力式病人翻身床 | Powered patient rotation bed | 1 |
| O.5700 | 醫療用冷敷包 | Cold pack | 1 |
| O.5710 | 醫療用可丟棄式的冷熱敷包 | Hot or cold disposable pack | 1 |
| O.5720 | 醫療用水循環式冷熱敷包 | Water circulating hot or cold pack | 1 |
| O.5730 | 醫療用濕熱敷包 | Moist heat pack | 1 |
| O.5765 | 壓力供應裝置 | Pressure-applying device | 1 |
| O.5925 | 牽引用附件 | Traction accessory | 1 |

| 十六、放射學科用裝置 |  |
| --- | --- |
|  | (RADIOLOGY DEVICES) |  |
| 代碼 | 中文名稱 | 英文名稱 | 等級 |
| P.1350 | 核醫掃描台 | Nuclear scanning bed | 1 |
| P.1400 | 核醫密封校正源 | Nuclear sealed calibration source | 1 |
| P.1410 | 核醫心電圖同步器 | Nuclear electrocardiograph synchronizer | 1 |
| P.1640 | 放射性影片標記系統 | Radiographic film marking system | 1 |
| P.1760 | 診斷用X光球管套組件 | Diagnostic x-ray tube housing assembly | 1 |
| P.1830 | 放射科病患用支架 | Radiologic patient cradle | 1 |
| P.1840 | 放射線影片 | Radiographic film | 1 |
| P.1910 | 放射線柵板 | Radiographic grid | 1 |
| P.1920 | 放射線造影頭部固定器 | Radiographic head holder | 1 |
| P.1960 | 放射線強化螢幕 | Radiographic intensifying screen | 1 |
| P.1970 | 放射線心電圖／呼吸器同步器 | Radiographic ECG/respirator synchronizer | 1 |
| P.2010 | 醫學影像儲存裝置 | Medical image storage device | 1 |
| P.2020 | 醫學影像傳輸裝置 | Medical image communication device | 1 |
| P.5740 | 放射核種遠端治療源 | Radionuclide teletherapy source | 1 |
| P.5780 | 病患定位光束指示器 | Light beam patient position indicator | 1 |
| P.6500 | 個人用防護罩 | Personnel protective shield | 1 |